## Slide 1: Water Quality of NYC
By:
Aanal Bhavsar
N10123380

## Slide 2: Water Quality Sampling Locations:
Sampling Stations in Harbor of NY
Waste Water Treatment Facilities of NYC
N9- Steeplechase Pier (Hudson Transects)
NC3-Whale Creek (Tributaries)
NC2-Amoco Tank Farm
NC1-Maspeth Creek
E6-Flushing Bay (East River)
6. FB1- Flushing Bay North
7. FLC2- Mouth of Flushing Creek (Tributaries)
8. E7- Whitestone Bridge (East River)
9. E8-Throg's Neck Bridge
10.E11-Little Neck Bay
Oakwood Beach WWTP
Port Richmond WWTP
Owls Head WWTP
Coney Island WWTP
Red Hook WWTP
Newtown Creek WWTP
26th Ward WWTP
7. North River WWTP
8. Ward’s Island WWTP
9. Bowery Bay WWTP
10. Rockaway WWTP
11. Jamaica WWTP
12. Tallman Island WWTP

## Slide 3: Water Testing Parameters:
Dissolved Oxygen (DO):
Amount of oxygen present in water
Depicts water quality
Effects by temperature, salinity etc.
Limit < 18 mg/l
Ideal for aquatic species: 4-6 mg/l
Fecal Coliform:
Is a facultative anaerobic bacteria
Can be effected by precipitation
Comes from human and animal fecal waste
Enterococcus:
- Is a group of fecal bacteria
- Indicates extent of fecal contamination of recreational surface waters
- Can cause skin diseases
- Can survive in water with more DO
Some of the major parameters that are studied in this project are:

## Slide 4: Strategies used:
Study Period: 2009-2015, monthly observation
Parameters Considered: DO, Fecal Coliform, Enterococcus
11 sampling stations divided into 4 clusters based on location
Each group has 1 or 2 Waste Water Treatment Plant(s) (WWTP)
Concentration of each parameter at monitoring stations is compared with temperature, precipitation and discharge concentration of WWTP
Developed heat map to visualise variation of each parameter, in ArcGIS

## Slide 5: Divisions of Sampling Stations based on Location:
Group A: Coney Island Station N9 of Hudson Transects Nearby WWTP: Coney Island | Group B: In tributaries between Brooklyn and Queens Borough - Stations NC3, NC2, NC1 present in Tributaries - Nearby WWTP: Newtown Creek, Red Hook
Group C: Of East River Stations E6, FB1, FLC2 Nearby WWTP: Bowery Bay, Ward’s Island | Group D: Stations E7, E11 covering eastern uppermost portion of NYC Nearby WWTP: Tallman Island

## Slide 6: Group A:
Chart: N9
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 10.793 | 11.4364 | 6.937 | 7.476 | 7.9489 | 7.207 | 6.6629 | 5.6024 | 6.0163 | 7.5437 | 7.8688 | 8.4267
2010 | 9.89 | 12.1834 | 12.4826 | 7.405 | 7.6291 | 6.6694 | 5.9981 | 6.1017 | 5.9376 | 5.4056 | 0 | 6.3556
2011 | 9.76 | 8.4736 | 8.7913 | 6.178 | 8.731 | 5.463 | 5.3214 | 6.6791 | 4.9782 | 5.1789 | 5.9781 | 6.136
2012 | 8.4 | 10.15 | 10.66 | 9.41 | 8.57 | 7.3225 | 6.102 | 4.9125 | 5.2175 | 5.7 | 8.2667 | 9.6967
2013 | 9.8767 | 8.99 | 11.14 | 11.57 | 8.145 | 7.5833 | 6.864 | 6.0175 | 6.07 | 6.86 | 9.38 | 8.53
2014 | 9.5893 | 9.7135 | 8.4769 | 10.6542 | 10.3547 | 7.4763 | 7.9746 | 6.7136 | 6.3799 | 5.9746 | 5.1347 | 6.2463
2015 | 9.45 | 10.22 | 11.03 | 10.53 | 7.515 | 7.382 | 6.1233 | 6.185 | 6.82 | 7.5775 | 6.96 | 8.04
Chart: Coliform (#/ml)
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 21 | 8 | 11 | 504 | 14 | 52.2 | 20 | 11.25 | 18.2 | 2 | 4 | 21
2010 | 13 | 9 | 8 | 252.5 | 27 | 43.2 | 22.5 | 34.875 | 101.6 | 40.5 | 7 | 17
2011 | 5 | 10 | 5 | 1 | 40 | 34.2 | 25 | 58.5 | 185 | 79 | 10 | 13
2012 | 1 | 7 | 6 | 1 | 16 | 109.25 | 19.8 | 42.75 | 56.5 | 5 | 30.6667 | 29.3333
2013 | 18 | 5 | 10 | 5 | 6 | 24 | 68 | 34.75 | 3.6667 | 11 | 2 | 5
2014 | 18 | 12 | 8 | 3.5 | 3.5 | 22.3 | 43.1667 | 25.625 | 8.7083 | 7.375 | 3.5 | 6.5
2015 | 18 | 19 | 6 | 2 | 1 | 20.6 | 18.3333 | 16.5 | 13.75 | 3.75 | 5 | 8
Chart: Temperature
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 17.3 | 25.4 | 34.2 | 47.3 | 54.9 | 63.4 | 66.1 | 68.3 | 58.8 | 47.4 | 43.1 | 26.3
2010 | 22.3 | 25.8 | 39.6 | 49.8 | 60 | 65.5 | 71.9 | 68.7 | 61.7 | 48.9 | 38.5 | 25
2011 | 20.2 | 22.9 | 32.7 | 46.5 | 60.3 | 65.4 | 71.9 | 68.1 | 62.9 | 50 | 43.5 | 33.3
2012 | 27.3 | 30.3 | 46.6 | 44.5 | 61.8 | 65.7 | 72.4 | 68.7 | 60.9 | 52.2 | 35.6 | 32.9
2013 | 25.1 | 24.7 | 32.1 | 44.6 | 58.7 | 64.4 | 72.1 | 66.4 | 58.4 | 51.6 | 35.8 | 27.6
2014 | 18.7 | 20.9 | 25.7 | 44.9 | 58.2 | 66.2 | 67.4 | 66 | 60.2 | 52.9 | 37.7 | 32.1
2015 | 17.9 | 11.8 | 27.8 | 45.1 | 62.9 | 65.4 | 69.7 | 68.6 | 65.4 | 48.7 | 44.8 | 40.8
Average | 21.2571 | 23.1143 | 34.1 | 46.1 | 59.5429 | 65.1429 | 70.2143 | 67.8286 | 61.1857 | 50.2429 | 39.8571 | 31.1429
Chart: Enterococcus (#/ml)
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 1 | 1 | 1 | 216 | 2.5 | 6.4 | 19 | 1.3333 | 1.6 | 1 | 2 | 1
2010 | 1 | 1.5 | 1.5 | 108.5 | 3.25 | 4.4 | 10 | 1.4167 | 11 | 1 | 11 | 1
2011 | 1 | 2 | 2 | 1 | 4 | 2.4 | 1 | 1.5 | 20.4 | 1 | 20 | 1
2012 | 1 | 1 | 1 | 1 | 1 | 23 | 1.6 | 1.25 | 3.5 | 2 | 7 | 6.3333
2013 | 4 | 2 | 1 | 1 | 2 | 2 | 3 | 1.25 | 2 | 1 | 1 | 2
2014 | 4 | 5 | 1 | 1 | 1.75 | 1.9 | 2.1667 | 2.5 | 1.625 | 1.125 | 2 | 2
2015 | 4 | 8 | 1 | 1 | 1.5 | 1.8 | 1.3333 | 3.75 | 1.25 | 1.25 | 3 | 2
Chart: Coney Island
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 2.8 | 3.2 | 2.8 | 2.8 | 2.8 | 2.2 | 2.3 | 3 | 1.6 | 2.2 | 1.8 | 2.4
2010 | 2.9 | 2.3 | 3.9 | 2 | 2 | 1.8 | 1.9 | 1.8 | 1.7 | 2.1 | 2.1 | 1.3
2011 | 2.2 | 2.2 | 2.2 | 1.9 | 1.1 | 1.9 | 1.9 | 1.9 | 2 | 1.9 | 2.7 | 2.2
2012 | 2.8 | 2.5 | 2.8 | 2.5 | 2.4 | 2.4 | 1.9 | 2 | 1.9 | 2.1 | 2.5 | 2
2013 | 2.1 | 2.6 | 3 | 1.9 | 1.7 | 2 | 2.3 | 1.6 | 1.7 | 1.6 | 1.3 | 1.9
2014 | 2.2 | 2.2 | 2 | 1.9 | 0.8 | 1.8 | 1.5 | 1.8 | 0.8 | 1.7 | 1.2 | 2.3
2015 | 2 | 2.4 | 1.3 | 1 | 2.5 | 0.8 | 1.4 | 1.5 | 1.5 | 1.5 | 1.7 | 1.1
Chart: Precipitation
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
2009 | 1.38 | 1.84 | 3.62 | 3.73 | 2.34 | 3.97 | 4.03 | 4.78 | 1.93 | 2.97 | 1.77 | 1.84
2010 | 1.33 | 1.96 | 2.5 | 1.47 | 3.04 | 5.63 | 4.44 | 5.97 | 5.03 | 5.14 | 4.09 | 3.19
2011 | 1.96 | 3.28 | 3.32 | 7.23 | 6.11 | 6.54 | 3.79 | 4.88 | 8.49 | 4.29 | 4.01 | 2.42
2012 | 3.12 | 1.57 | 1.64 | 2.92 | 5.52 | 3.01 | 3.8 | 2.7 | 2.38 | 4.08 | 1.76 | 6.01
2013 | 2.2 | 2.18 | 1.44 | 4.73 | 3.95 | 8.75 | 8.17 | 2.17 | 4.34 | 5 | 3.64 | 2.61
2014 | 1.58 | 4 | 3.03 | 4.8 | 4.51 | 6.61 | 6.97 | 5.64 | 2.5 | 4.75 | 2.9 | 3.63
2015 | 2.04 | 1.21 | 3.23 | 3.76 | 4.17 | 8 | 1.95 | 3.66 | 4.62 | 4.66 | 0.7 | 6.78
Average | 1.9443 | 2.2914 | 2.6829 | 4.0914 | 4.2343 | 6.0729 | 4.7357 | 4.2571 | 4.1843 | 4.4129 | 2.6957 | 3.7829
Chart: Coliform (#/ml)
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 36.5 | 118 | 58 | 34.5 | 74.5 | 111 | 16 | 5 | 5 | 129 | 38 | 27.5
2010 | 32.5 | 38 | 215.5 | 137.5 | 247 | 22 | 66.5 | 9 | 73 | 34 | 9.5 | 128
2011 | 161 | 133.5 | 110.5 | 205.5 | 102.5 | 194 | 242 | 82.5 | 11 | 133.5 | 189 | 128
2012 | 70 | 50 | 213.5 | 123 | 85.5 | 396.5 | 41.5 | 124 | 84.5 | 127 | 411.5 | 78.5
2013 | 72 | 85 | 101.5 | 79 | 231 | 60.5 | 22 | 129 | 171.5 | 124.5 | 384.5 | 85.5
2014 | 55 | 13.5 | 9.5 | 55.5 | 365 | 129.5 | 5 | 31 | 100 | 799 | 10.5 | 21
2015 | 97.5 | 123.5 | 164.5 | 18.5 | 5.5 | 76.5 | 48.5 | 11.5 | 45 | 12 | 128 | 49.5

## Slide 7: Group B:
Chart: NC2
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 9.1564 | 10.3476 | 5.2998 | 8.9713 | 9.2497 | 6.2962 | 7.7889 | 6.4661 | 4.4082 | 4.8688 | 8.246 | 5.7522
2010 | 11.1736 | 11.9934 | 13.659 | 10.7469 | 8.9746 | 7.7896 | 7.1364 | 5.7931 | 6.4975 | 6.1978 | 5.934 | 4.3947
2011 | 10.0938 | 11.7566 | 11.6713 | 9.6713 | 6.0777 | 8.103 | 5.7479 | 3.7925 | 3.3877 | 3.1664 | 6.7142 | 8.6561
2012 | 8.39 | 10.67 | 11.54 | 8.99 | 7.6 | 4.7625 | 4.65 | 4.742 | 2.7167 | 5.19 | 6.32 | 7.4467
2013 | 7.975 | 8.78 | 13.27 | 10.48 | 5.03 | 5.0225 | 5.35 | 5.7725 | 4.9567 | 4.69 | 6.19 | 7.32
2014 | 7.65 | 10.82 | 13.45 | 8.81 | 6.36 | 8.8 | 6.04 | 4.82 | 3.98 | 4 | 4.94 | 4.63
2015 | 8.74 | 9.93 | 10.88 | 11.23 | 6.905 | 4.6275 | 4.7875 | 3.85 | 3.91 | 4.8775 | 4.88 | 5.2
Chart: Coliform (#/ml)
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 32 | 24 | 48 | 4000 | 132 | 1189.25 | 15865.2 | 809 | 1542.8 | 36 | 104 | 9000
2010 | 28 | 20 | 10 | 1600 | 1107.5 | 663 | 40653 | 68776.25 | 624 | 23 | 4000 | 5
2011 | 25000 | 171 | 135 | 36 | 14000 | 204 | 2686 | 51677.2 | 386.3333 | 740 | 45 | 33
2012 | 84 | 5 | 5 | 126 | 81 | 4295 | 888 | 31493.2 | 5904 | 600 | 53 | 421
2013 | 138.5 | 126 | 6 | 3 | 13350 | 50044 | 3378.2 | 11540.25 | 241 | 9100 | 92 | 6
2014 | 2500 | 17 | 19 | 200 | 62.5 | 1151 | 9398.4 | 1094 | 7092.5 | 212 | 31 | 1800
2015 | 280 | 460 | 11 | 4100 | 23.5 | 14363 | 2052.5 | 10882 | 55.3333 | 2047.75 | 39 | 570
Chart: Temperature
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 17.3 | 25.4 | 34.2 | 47.3 | 54.9 | 63.4 | 66.1 | 68.3 | 58.8 | 47.4 | 43.1 | 26.3
2010 | 22.3 | 25.8 | 39.6 | 49.8 | 60 | 65.5 | 71.9 | 68.7 | 61.7 | 48.9 | 38.5 | 25
2011 | 20.2 | 22.9 | 32.7 | 46.5 | 60.3 | 65.4 | 71.9 | 68.1 | 62.9 | 50 | 43.5 | 33.3
2012 | 27.3 | 30.3 | 46.6 | 44.5 | 61.8 | 65.7 | 72.4 | 68.7 | 60.9 | 52.2 | 35.6 | 32.9
2013 | 25.1 | 24.7 | 32.1 | 44.6 | 58.7 | 64.4 | 72.1 | 66.4 | 58.4 | 51.6 | 35.8 | 27.6
2014 | 18.7 | 20.9 | 25.7 | 44.9 | 58.2 | 66.2 | 67.4 | 66 | 60.2 | 52.9 | 37.7 | 32.1
2015 | 17.9 | 11.8 | 27.8 | 45.1 | 62.9 | 65.4 | 69.7 | 68.6 | 65.4 | 48.7 | 44.8 | 40.8
Average | 21.2571 | 23.1143 | 34.1 | 46.1 | 59.5429 | 65.1429 | 70.2143 | 67.8286 | 61.1857 | 50.2429 | 39.8571 | 31.1429
Chart: Precipitation
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
2009 | 1.38 | 1.84 | 3.62 | 3.73 | 2.34 | 3.97 | 4.03 | 4.78 | 1.93 | 2.97 | 1.77 | 1.84
2010 | 1.33 | 1.96 | 2.5 | 1.47 | 3.04 | 5.63 | 4.44 | 5.97 | 5.03 | 5.14 | 4.09 | 3.19
2011 | 1.96 | 3.28 | 3.32 | 7.23 | 6.11 | 6.54 | 3.79 | 4.88 | 8.49 | 4.29 | 4.01 | 2.42
2012 | 3.12 | 1.57 | 1.64 | 2.92 | 5.52 | 3.01 | 3.8 | 2.7 | 2.38 | 4.08 | 1.76 | 6.01
2013 | 2.2 | 2.18 | 1.44 | 4.73 | 3.95 | 8.75 | 8.17 | 2.17 | 4.34 | 5 | 3.64 | 2.61
2014 | 1.58 | 4 | 3.03 | 4.8 | 4.51 | 6.61 | 6.97 | 5.64 | 2.5 | 4.75 | 2.9 | 3.63
2015 | 2.04 | 1.21 | 3.23 | 3.76 | 4.17 | 8 | 1.95 | 3.66 | 4.62 | 4.66 | 0.7 | 6.78
Average | 1.9443 | 2.2914 | 2.6829 | 4.0914 | 4.2343 | 6.0729 | 4.7357 | 4.2571 | 4.1843 | 4.4129 | 2.6957 | 3.7829
Chart: Newtown Creek
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 104 | 150.5 | 91 | 47 | 224.5 | 99.5 | 128.5 | 272.5 | 187.5 | 258 | 174 | 184
2010 | 150.5 | 62 | 254 | 208 | 169.5 | 204 | 124 | 206 | 230 | 173 | 599 | 282.5
2011 | 204 | 212 | 71 | 111.5 | 151.5 | 223.5 | 242.5 | 138 | 90.5 | 191 | 520 | 163.5
2012 | 82.5 | 84 | 113 | 76 | 107 | 122 | 20.5 | 8 | 298 | 169 | 148.5 | 159
2013 | 62 | 34.5 | 49 | 61.5 | 91 | 32 | 20 | 42.5 | 135.5 | 136.5 | 78.5 | 216
2014 | 69.5 | 34.5 | 207 | 52 | 160 | 78.5 | 51.5 | 28.5 | 35 | 181 | 69.5 | 92
2015 | 105.5 | 90.5 | 91.5 | 107 | 94.5 | 110 | 79 | 75.5 | 58.5 | 108 | 70.5 | 77

## Slide 8: Group C:
Chart: FLC2
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 10.2973 | 13.7346 | 14.2159 | 6.742 | 5.0286 | 3.9477 | 5.555 | 4.2665 | 5.006 | 6.4987 | 7.156 | 7.4843
2010 | 10.37 | 12.8935 | 14.9907 | 5.4488 | 4.8507 | 4.6044 | 8.5316 | 4.1197 | 4.7497 | 4.6007 | 6.731 | 7.0291
2011 | 11.4388 | 12.588 | 12.5719 | 8.448 | 7.126 | 6.1906 | 5.4136 | 4.7491 | 3.5312 | 4.3661 | 7.6465 | 7.7529
2012 | 8.58 | 11.66 | 13.24 | 12.82 | 6.08 | 5.8975 | 5.002 | 4.5475 | 4.5625 | 5.64 | 7.96 | 9.26
2013 | 10.03 | 10.53 | 13.85 | 12.84 | 5.92 | 5.0575 | 4.666 | 4.5775 | 5.585 | 6.525 | 8.01 | 8.52
2014 | 9.56 | 13.47 | 13.31 | 11.54 | 7.31 | 8.58 | 5.5725 | 5.625 | 4.816 | 5.08 | 6.9 | 8.24
2015 | 8.57 | 11.54 | 9.4 | 12.34 | 7.08 | 6.15 | 6.1425 | 5 | 5.3225 | 6.5533 | 5.8 | 6.61
Chart: Temperature
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 17.3 | 25.4 | 34.2 | 47.3 | 54.9 | 63.4 | 66.1 | 68.3 | 58.8 | 47.4 | 43.1 | 26.3
2010 | 22.3 | 25.8 | 39.6 | 49.8 | 60 | 65.5 | 71.9 | 68.7 | 61.7 | 48.9 | 38.5 | 25
2011 | 20.2 | 22.9 | 32.7 | 46.5 | 60.3 | 65.4 | 71.9 | 68.1 | 62.9 | 50 | 43.5 | 33.3
2012 | 27.3 | 30.3 | 46.6 | 44.5 | 61.8 | 65.7 | 72.4 | 68.7 | 60.9 | 52.2 | 35.6 | 32.9
2013 | 25.1 | 24.7 | 32.1 | 44.6 | 58.7 | 64.4 | 72.1 | 66.4 | 58.4 | 51.6 | 35.8 | 27.6
2014 | 18.7 | 20.9 | 25.7 | 44.9 | 58.2 | 66.2 | 67.4 | 66 | 60.2 | 52.9 | 37.7 | 32.1
2015 | 17.9 | 11.8 | 27.8 | 45.1 | 62.9 | 65.4 | 69.7 | 68.6 | 65.4 | 48.7 | 44.8 | 40.8
Average | 21.2571 | 23.1143 | 34.1 | 46.1 | 59.5429 | 65.1429 | 70.2143 | 67.8286 | 61.1857 | 50.2429 | 39.8571 | 31.1429
Chart: Ward's Island
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 50 | 66 | 47.5 | 34 | 33.5 | 60.5 | 159 | 146.5 | 138 | 128 | 118.5 | 96
2010 | 28.5 | 41 | 22.5 | 69.5 | 201.5 | 94.5 | 195 | 108.5 | 33 | 72 | 84 | 133.5
2011 | 41 | 151 | 71.5 | 71.5 | 98 | 20 | 23 | 24.5 | 33 | 60.5 | 22.5 | 41.5
2012 | 62.5 | 98 | 66.5 | 46.5 | 98 | 80.5 | 19 | 43.5 | 49.5 | 19 | 87 | 113.5
2013 | 72 | 48.5 | 256.5 | 73.5 | 12.5 | 11.5 | 16 | 63.5 | 13 | 11.5 | 40 | 59
2014 | 120 | 45 | 24 | 52 | 61.5 | 31.5 | 8 | 11.5 | 25 | 23.5 | 44 | 29
2015 | 37 | 31 | 30.5 | 46.5 | 44.5 | 152 | 78 | 75 | 118.5 | 74 | 24 | 31
Chart: Precipitation
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
2009 | 1.38 | 1.84 | 3.62 | 3.73 | 2.34 | 3.97 | 4.03 | 4.78 | 1.93 | 2.97 | 1.77 | 1.84
2010 | 1.33 | 1.96 | 2.5 | 1.47 | 3.04 | 5.63 | 4.44 | 5.97 | 5.03 | 5.14 | 4.09 | 3.19
2011 | 1.96 | 3.28 | 3.32 | 7.23 | 6.11 | 6.54 | 3.79 | 4.88 | 8.49 | 4.29 | 4.01 | 2.42
2012 | 3.12 | 1.57 | 1.64 | 2.92 | 5.52 | 3.01 | 3.8 | 2.7 | 2.38 | 4.08 | 1.76 | 6.01
2013 | 2.2 | 2.18 | 1.44 | 4.73 | 3.95 | 8.75 | 8.17 | 2.17 | 4.34 | 5 | 3.64 | 2.61
2014 | 1.58 | 4 | 3.03 | 4.8 | 4.51 | 6.61 | 6.97 | 5.64 | 2.5 | 4.75 | 2.9 | 3.63
2015 | 2.04 | 1.21 | 3.23 | 3.76 | 4.17 | 8 | 1.95 | 3.66 | 4.62 | 4.66 | 0.7 | 6.78
Average | 1.9443 | 2.2914 | 2.6829 | 4.0914 | 4.2343 | 6.0729 | 4.7357 | 4.2571 | 4.1843 | 4.4129 | 2.6957 | 3.7829
Chart: Bowery Bay
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 44 | 45.5 | 77.5 | 46 | 44 | 91 | 38 | 79 | 115 | 131.5 | 112 | 45
2010 | 93 | 41 | 101 | 60.5 | 183.5 | 105.5 | 152 | 203.5 | 143 | 161.5 | 210 | 54
2011 | 48.5 | 35.5 | 64.5 | 140.5 | 131 | 148.5 | 17.5 | 32 | 24.5 | 84.5 | 23 | 10.5
2012 | 14.5 | 14.5 | 40 | 31 | 10.5 | 10 | 17.5 | 10 | 68 | 35.5 | 12 | 8.5
2013 | 29.5 | 12 | 19 | 15 | 8 | 22.5 | 7.5 | 17.5 | 34 | 81 | 33 | 24.5
2014 | 17 | 5.5 | 22 | 9 | 86 | 73 | 7 | 16.5 | 13.5 | 13.5 | 7.5 | 10
2015 | 6 | 10 | 11.5 | 10.5 | 6 | 11.5 | 21.5 | 71 | 81.5 | 25 | 20.5 | 11.5

## Slide 9: Group D:
Chart: E7
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 8.3476 | 10.4763 | 12.6255 | 6.479 | 7.5934 | 5.6141 | 4.9572 | 3.3101 | 4.801 | 6.5121 | 8.0261 | 7.7219
2010 | 10.57 | 14.3874 | 13.7442 | 6.5061 | 5.506 | 4.6591 | 4.7488 | 3.432 | 4.6938 | 5.8806 | 0 | 7.6082
2011 | 11.2392 | 13.2344 | 12.464 | 6.755 | 7.419 | 5.7135 | 5.0624 | 3.9735 | 4.7388 | 4.7478 | 7.6381 | 8.1875
2012 | 8.76 | 10.93 | 12.65 | 10.42 | 7.93 | 6.1325 | 4.4833 | 3.3975 | 4.795 | 5.75 | 8.8533 | 9.2933
2013 | 10.4267 | 11.25 | 13.03 | 11.68 | 7.285 | 6.6425 | 4.7175 | 4.08 | 4.705 | 6.515 | 8.28 | 9.05
2014 | 9.57 | 13.34 | 13.67 | 11.16 | 7.4 | 8.51 | 6.0425 | 6.28 | 5.278 | 5.3 | 7.77 | 8.36
2015 | 10.36 | 12.72 | 9.49 | 11.65 | 7.15 | 6.756 | 5.4475 | 4.808 | 4.475 | 7.38 | 7.09 | 6.54
Chart: Temperature
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 17.3 | 25.4 | 34.2 | 47.3 | 54.9 | 63.4 | 66.1 | 68.3 | 58.8 | 47.4 | 43.1 | 26.3
2010 | 22.3 | 25.8 | 39.6 | 49.8 | 60 | 65.5 | 71.9 | 68.7 | 61.7 | 48.9 | 38.5 | 25
2011 | 20.2 | 22.9 | 32.7 | 46.5 | 60.3 | 65.4 | 71.9 | 68.1 | 62.9 | 50 | 43.5 | 33.3
2012 | 27.3 | 30.3 | 46.6 | 44.5 | 61.8 | 65.7 | 72.4 | 68.7 | 60.9 | 52.2 | 35.6 | 32.9
2013 | 25.1 | 24.7 | 32.1 | 44.6 | 58.7 | 64.4 | 72.1 | 66.4 | 58.4 | 51.6 | 35.8 | 27.6
2014 | 18.7 | 20.9 | 25.7 | 44.9 | 58.2 | 66.2 | 67.4 | 66 | 60.2 | 52.9 | 37.7 | 32.1
2015 | 17.9 | 11.8 | 27.8 | 45.1 | 62.9 | 65.4 | 69.7 | 68.6 | 65.4 | 48.7 | 44.8 | 40.8
Average | 21.2571 | 23.1143 | 34.1 | 46.1 | 59.5429 | 65.1429 | 70.2143 | 67.8286 | 61.1857 | 50.2429 | 39.8571 | 31.1429
Chart: Tallman Island
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEPT | OCT | NOV | DEC
2009 | 11.5 | 9 | 8.5 | 6.5 | 10 | 22 | 28.5 | 25.5 | 31 | 31 | 3.5 | 15.5
2010 | 12 | 14 | 20 | 22 | 47.5 | 29.5 | 32.5 | 51 | 99 | 18.5 | 45.5 | 110
2011 | 229 | 62.5 | 19.5 | 23 | 77 | 125 | 20.5 | 4 | 9.5 | 22.5 | 34 | 45.5
2012 | 132 | 63 | 43 | 74 | 28 | 11 | 25.5 | 34 | 37.5 | 16 | 95.5 | 35
2013 | 77 | 55.5 | 137.5 | 19.5 | 39.5 | 14 | 5 | 16.5 | 4.5 | 11 | 20 | 46
2014 | 29.5 | 112.5 | 132 | 19.5 | 3.5 | 7 | 6.5 | 25.5 | 19 | 4 | 2.5 | 25.5
2015 | 14 | 22.5 | 55.5 | 26 | 30.5 | 132 | 11.5 | 48.5 | 26.5 | 9.5 | 15.5 | 11.5
Chart: Precipitation
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
2009 | 1.38 | 1.84 | 3.62 | 3.73 | 2.34 | 3.97 | 4.03 | 4.78 | 1.93 | 2.97 | 1.77 | 1.84
2010 | 1.33 | 1.96 | 2.5 | 1.47 | 3.04 | 5.63 | 4.44 | 5.97 | 5.03 | 5.14 | 4.09 | 3.19
2011 | 1.96 | 3.28 | 3.32 | 7.23 | 6.11 | 6.54 | 3.79 | 4.88 | 8.49 | 4.29 | 4.01 | 2.42
2012 | 3.12 | 1.57 | 1.64 | 2.92 | 5.52 | 3.01 | 3.8 | 2.7 | 2.38 | 4.08 | 1.76 | 6.01
2013 | 2.2 | 2.18 | 1.44 | 4.73 | 3.95 | 8.75 | 8.17 | 2.17 | 4.34 | 5 | 3.64 | 2.61
2014 | 1.58 | 4 | 3.03 | 4.8 | 4.51 | 6.61 | 6.97 | 5.64 | 2.5 | 4.75 | 2.9 | 3.63
2015 | 2.04 | 1.21 | 3.23 | 3.76 | 4.17 | 8 | 1.95 | 3.66 | 4.62 | 4.66 | 0.7 | 6.78
Average | 1.9443 | 2.2914 | 2.6829 | 4.0914 | 4.2343 | 6.0729 | 4.7357 | 4.2571 | 4.1843 | 4.4129 | 2.6957 | 3.7829
Chart: Coliform (#/ml)
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 12 | 16 | 3 | 1 | 2 | 26.8 | 13.6667 | 609.2 | 31.6667 | 49.5 | 80 | 113
2010 | 7.5 | 18.5 | 7 | 1.5 | 63.5 | 42.525 | 30.4583 | 776.3 | 70.5833 | 103.25 | 43 | 66
2011 | 3 | 21 | 11 | 2 | 125 | 58.25 | 47.25 | 943.4 | 109.5 | 157 | 6 | 19
2012 | 12 | 6 | 3 | 115 | 33 | 65.25 | 339.3333 | 298 | 104.75 | 86 | 7.3333 | 54
2013 | 25.6667 | 9 | 3 | 5 | 26.5 | 46.25 | 38.5 | 35 | 307 | 8 | 13 | 11
2014 | 78.8333 | 7.5 | 11.5 | 3 | 15.25 | 116.925 | 27.5 | 28.3 | 245.5 | 16.8333 | 10.5 | 16.5
2015 | 132 | 6 | 20 | 1 | 4 | 187.6 | 16.5 | 21.6 | 184 | 25.6667 | 8 | 22
Chart: E7
| JAN | FEB | MAR | APR | MAY | JUN | JULY | AUG | SEP | OCT | NOV | DEC
2009 | 17 | 5 | 2 | 1 | 1 | 4.2 | 35.5 | 41.2 | 1.3333 | 9.5 | 7 | 66
2010 | 13.5 | 4 | 3.5 | 1 | 11.5 | 2.975 | 19.0833 | 102.7 | 3.1667 | 6.75 | 5 | 33.5
2011 | 10 | 3 | 5 | 1 | 22 | 1.75 | 2.6667 | 164.2 | 5 | 4 | 3 | 1
2012 | 4 | 2 | 5 | 16 | 1 | 41.25 | 3 | 19.25 | 5.5 | 4 | 4 | 31
2013 | 21 | 6 | 2 | 1 | 3 | 12 | 2 | 8.5 | 13 | 3 | 1 | 4
2014 | 43.5 | 5 | 8.5 | 1 | 2.5 | 13.2 | 1.75 | 5.65 | 39.125 | 2.5 | 1 | 4
2015 | 66 | 4 | 15 | 1 | 2 | 14.4 | 1.5 | 2.8 | 65.25 | 2 | 1 | 4

## Slide 10: Outcomes of Study:
DO decreases with increase in temperature
Fecal Coliform and Enterococcus are dependent on each other
Both biological parameters increases with precipitation
Results shows that Stations NC2 (Amoco Tank Farm)and FLC2 (mouth of Flushing Creek) recorded maximum concentration of Coliform and Enterococcus i.e avg around 50,000(/100ml)
Fecal Coliform concentration in these tributaries is more as there is no chlorination in the lakes which flows from here
These creeks receive 1 million gallons of raw sewage and storm river runoff annually
Animated Movie showing variation in parameters with time:

## Slide 11: Table of Summary:
Stations | Range of Fecal Coliform(#/100ml) | Range of Enteroccocus(#/100ml) | Comment
N9 (Hudson Transects) | 500 | 200 | Acceptable
NC2 (Tributary between Brooklyn and Queens) | 65,000 | 10,000 | Measures to be taken
FB1 (Flushing Bay North) | 2000 | 2000 | Moderate
E15 (Tributary) | 6000 | 10,000 | Higher side
FLC2 (Mouth of Flushing Creek Tributaries) | 35,000 | 17,000 | Measures to be taken
E7 (East River) | 900 | 160 | Acceptable
E11 (Little Neck Bay) | 500 | 400 | Acceptable
Comment: Overall water quality of NYC has almost remained consistent from year 2009-2015

## Slide 12: Thank You!!!